| NOTICE: This report is required by 49 CFR Part 195. Failure to report can result in a civil penalty not to exceed $25,000 for each violation Form Approved for each day that such violation persists except that the maximum civil penalty shall not exceed $500,000 as provided in 49 USC 60122 OMB No. 2137-0047 |
| --- |
| U.S. Department of Transportation Research and Special Programs Administration | STATE OF LOUISIANA ACCIDENT REPORT – HAZARDOUS LIQUID PIPELINE SYSTEMS | Report Date No. (DOT Use Only) |
| INSTRUCTIONS |  |
| Important: Please read the separate instructions for completing this form before you begin. They clarify the information requested and provide specific examples. If you do not have a copy of the instructions, you can obtain one from the Office Of Pipeline Safety Web Page at http://ops.dot.gov. |
| PART A – GENERAL REPORT INFORMATION | Check: Original Report Supplemental Report Final Report |
| a. Operator's OPS 5-digit Identification Number (if known) / / / / / / b. If Operator does not own the pipeline, enter Owner’s OPS 5-digit Identification Number (if known) / / / / / / c. Name of Operator ______________________________________________________________________________________ Operator street address _______________________________________________________________________________ Operator address ______________________________________________________________________________________ City, County, State and Zip Code IMPORTANT: IF THE SPILL IS SMALL, THAT IS, THE AMOUNT IS AT LEAST 5 GALLONS BUT IS LESS THAN 5 BARRELS, COMPLETE THIS PAGE ONLY, UNLESS THE SPILL IS TO WATER AS DESCRIBED IN 49 CFR §195.52(A)(4) OR IS OTHERWISE REPORTABLE UNDER §195.50 AS REVISED IN CY 2001. |
| 2. Time and date of the accident / / / / / / / / / / / / / / hr. month day year 3. Location of accident (If offshore, do not complete a through d. See Part C.1) a. Latitude: _____ Longitude: __________ (if not available, see instructions for how to provide specific location) b. _________________________________________________ City, and County or Parish c. _________________________________________________ State and Zip Code Mile post/valve station or survey station no. (whichever gives more accurate location) _________________________________ 4. Telephone report / / / / / / / / / / / / / / / / NRC Report Number month day year | 5. Losses (Estimated) Public/Community Losses reimbursed by operator: Public/private property damage $_______________ Cost of emergency response phase $_______________ Cost of environmental remediation $_______________ Other Costs $_______________ (describe) _____________________________________ Operator Losses: Value of product lost $_______________ Value of operator property damage $_______________ Other Costs $_______________ (describe) _____________________________________ Total Costs $_______________ |
| 6. Commodity Spilled Yes No (If Yes, complete Parts a through c where applicable) Name of commodity spilled ___________________________ b. Classification of commodity spilled: HVLs /other flammable or toxic fluid which is a gas at ambient conditions CO2 or other non-flammable, non-toxic fluid which is a gas at ambient conditions Gasoline, diesel, fuel oil or other petroleum product which is a liquid at ambient conditions Crude oil | Estimated amount of commodity involved : Barrels Gallons (check only if spill is less than one barrel) Amounts: Spilled : ____________ Recovered: ____________ |
| CAUSES FOR SMALL SPILLS ONLY (5 gallons to under 5 barrels) : | (For large spills [5 barrels or greater] see Part H) |
| Corrosion Natural Forces Excavation Damage Other Outside Force Damage Material and/or Weld Failures Equipment Incorrect Operation Other |
| PART B – PREPARER AND AUTHORIZED SIGNATURE |  |
| (type or print) Preparer's Name and Title | Area Code and Telephone Number |
| Preparer's E-mail Address | Area Code and Facsimile Number |
| Authorized Signature (type or print) Name and Title | Date | Area Code and Telephone Number |

Form RSPA F 7000-1  ( 01-2001 )	La. Revised:  6/04							Page 1 of 4

Reproduction of this form is permitted

| PART C – ORIGIN OF THE ACCIDENT (Check all that apply) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 1. Additional location information Line segment name or ID _______________________ Accident on Federal land other than Outer Continental Shelf Yes No c. Is pipeline interstate? Yes No | Offshore: Yes No (complete d if offshore) d. Area ___________________ Block # ______________ State / / / or Outer Continental Shelf |
| 2. Location of system involved (check all that apply) Operator’s Property Pipeline Right of Way High Consequence Area (HCA)? Describe HCA____________________________________ 3. Part of system involved in accident Above Ground Storage Tank Cavern or other below ground storage facility Pump/meter station; terminal/tank farm piping and equipment, including sumps Other Specify: _________________________________ Onshore pipeline, including valve sites Offshore pipeline, including platforms If failure occurred on Pipeline, complete items a - g: 4. Failure occurred on Body of Pipe Pipe Seam Scraper Trap Pump Sump Joint Component Valve Metering Facility Repair Sleeve Welded Fitting Bolted Fitting Girth Weld Other (specify) Year the component that failed was installed: / / / / / 5. Maximum operating pressure (MOP) a. Estimated pressure at point and time of accident: ____ PSIG b. MOP at time of accident: ___________PSIG c. Did an overpressurization occur relating to the accident? Yes No | a. Type of leak or rupture Leak: Pinhole Connection Failure (complete sec. H5) Puncture, diameter (inches) _________ Rupture: Circumferential – Separation Longitudinal – Tear/Crack, length (inches) ___________ Propagation Length, total, both sides (feet) _________ N/A Other _______________________________ b.Type of block valve used for isolation of immediate section: Upstream: Manual Automatic Remote Control Check Valve Downstream: Manual Automatic Remote Control Check Valve |
|  | c. Length of segment isolated _______ ft d. Distance between valves _______ ft e. Is segment configured for internal inspection tools? Yes No f. Had there been an in-line inspection device run at the point of failure? Yes No Don’t Know Not Possible due to physical constraints in the system g. If Yes, type of device run (check all that apply) High Resolution Magnetic Flux tool Year run: ______ Low Resolution Magnetic Flux tool Year run: ______ UT tool Year run: ______ Geometry tool Year run: ______ Caliper tool Year run: ______ Crack tool Year run: ______ Hard Spot tool Year run: ______ Other tool Year run: ______ |
| PART D – MATERIAL SPECIFICATION |  |  | PART E – ENVIRONMENT |  |  |  |
| 1. Nominal pipe size (NPS) / / / / / in. 2. Wall thickness / / / / / in. 3. Specification SMYS / / / / / / / 4. Seam type 5. Valve type 6. Manufactured by in year / / / / / | 1. Area of accident In open ditch Under pavement Above ground Underground Under water Inside/under building Other ____________ 2. Depth of cover: inches |
| PART F – CONSEQUENCES |  |
| 1. Consequences (check and complete all that apply) a. Fatalities Injuries c. Product ignited Yes No d. Explosion Yes No Number of operator employees: _______ _______ e. Evacuation (general public only) / / / / / people Contractor employees working for operator: _______ _______ Reason for Evacuation: General public: _______ _______ Precautionary by company Totals: _______ _______ Evacuation required or initiated by public official b. Was pipeline/segment shutdown due to leak? Yes No f. Elapsed time until area was made safe: If Yes, how long? ______ days ______ hours _____ minutes / / / hr. / / / min. 2. Environmental Impact a. Wildlife Impact: Fish/aquatic Yes No e. Water Contamination: Yes No (If Yes, provide the following) Birds Yes No Amount in water _________ barrels Terrestrial Yes No Ocean/Seawater No Yes b. Soil Contamination Yes No Surface No Yes If Yes, estimated number of cubic yards: _________ Groundwater No Yes c. Long term impact assessment performed: Yes No Drinking water No Yes (If Yes, check below.) d. Anticipated remediation Yes No Private well Public water intake If Yes, check all that apply: Surface water Groundwater Soil Vegetation Wildlife |

Form RSPA F 7000-1  ( 01-2001 )	La. Revised:  6/04							Page 2 of 4

Reproduction of this form is permitted

| PART G – LEAK DETECTION INFORMATION |  |
| --- | --- |
| 1. Computer based leak detection capability in place? Yes No 2. Was the release initially detected by? (check one): CPM/SCADA-based system with leak detection Static shut-in test or other pressure or leak test Local operating personnel, procedures or equipment Remote operating personnel, including controllers Air patrol or ground surveillance A third party Other (specify) _________________ 3. Estimated leak duration days ____ hours ____ |
| PART H – APPARENT CAUSE | Important: There are 25 numbered causes in this Part H. Check the box corresponding to the primary cause of the accident. Check one circle in each of the supplemental categories corresponding to the cause you indicate. See the instructions for guidance. |
| H1 – CORROSION 1. External Corrosion 2. Internal Corrosion (Complete items a – e where applicable.) | a. Pipe Coating Bare Coated | b. Visual Examination Localized Pitting General Corrosion Other ____________________ | c. Cause of Corrosion Galvanic Atmospheric Stray Current Microbiological Cathodic Protection Disrupted Stress Corrosion Cracking Selective Seam Corrosion Other ____________________ |
|  | d. Was corroded part of pipeline considered to be under cathodic protection prior to discovering accident? No Yes, Year Protection Started: / / / / / e. Was pipe previously damaged in the area of corrosion? No Yes ( Estimated time prior to accident: / / / years / / / months Unknown |
| H2 – NATURAL FORCES 3. Earth Movement ( Earthquake Subsidence Landslide Other 4. Lightning 5. Heavy Rains/Floods ( Washouts Flotation Mudslide Scouring Other 6. Temperature ( Thermal stress Frost heave Frozen components Other 7. High Winds |
| H3 – EXCAVATION DAMAGE 8. Operator Excavation Damage (including their contractors/Not Third Party) 9. Third Party (complete a-f) a. Excavator group General Public Government Excavator other than Operator/subcontractor b. Type: Road Work Pipeline Water Electric Sewer Phone/Cable Landowner-not farming related Farming Railroad Other liquid or gas transmission pipeline operator or their contractor Nautical Operations Other ________ c. Excavation was: Open Trench Sub-strata (boring, directional drilling, etc…) d. Excavation was an ongoing activity (Month or longer) Yes No If Yes, Date of last contact /___/___/___/ e. Did operator get prior notification of excavation activity? Yes; Date received: / / / mo. / / / day / / /___/___/ yr. No Notification received from: One Call System Excavator Contractor Landowner f. Was pipeline marked as result of location request for excavation? No Yes (If Yes, check applicable items i - iv) i. Temporary markings: Flags Stakes Paint ii. Permanent markings: iii. Marks were (check one) : Accurate Not Accurate iv. Were marks made within required time? Yes No H4 – OTHER OUTSIDE FORCE DAMAGE 10. Fire/Explosion as primary cause of failure ( Fire/Explosion cause: Man made Natural 11. Car, truck or other vehicle not relating to excavation activity damaging pipe 12. Rupture of Previously Damaged Pipe 13. Vandalism |

Form RSPA F 7000-1  ( 01-2001 )	La. Revised:  6/04							Page 3 of 4

Reproduction of this form is permitted

| H5 – MATERIAL AND/OR WELD FAILURES Material 14. Body of Pipe ( Dent Gouge Bend Arc Burn Other 15. Component ( Valve Fitting Vessel Extruded Outlet Other 16. Joint ( Gasket O-Ring Threads Other Weld 17. Butt ( Pipe Fabrication Other 18. Fillet ( Branch Hot Tap Fitting Repair Sleeve Other 19. Pipe Seam ( LF ERW DSAW Seamless Flash Weld HF ERW SAW Spiral Other |
| --- |
| Complete a-g if you indicate any cause in part H5. a. Type of failure: Construction Defect ( Poor Workmanship Procedure not followed Poor Construction Procedures Material Defect b. Was failure due to pipe damage sustained in transportation to the construction or fabrication site? Yes No c. Was part which leaked pressure tested before accident occurred? Yes, complete d-g No d. Date of test: / / / / / yr. / / / mo. / / / day e. Test medium: Water Inert Gas Other f. Time held at test pressure: / / / hr. g. Estimated test pressure at point of accident: PSIG |
| H6 – EQUIPMENT 20. Malfunction of Control/Relief Equipment ( Control valve Instrumentation SCADA Communications Block valve Relief valve Power failure Other 21. Threads Stripped, Broken Pipe Coupling ( Nipples Valve Threads Dresser Couplings Other 22. Seal Failure ( Gasket O-Ring Seal/Pump Packing Other |
| H7 – INCORRECT OPERATION 23. Incorrect Operation a. Type: Inadequate Procedures Inadequate Safety Practices Failure to Follow Procedures Other _______________________________________ b. Number of employees involved who failed a post-accident test: drug test: / / / / alcohol test /___/___/___/ |
| H8 – OTHER 24. Miscellaneous, describe: 25. Unknown Investigation Complete Still Under Investigation (submit a supplemental report when investigation is complete) |
| PART I – NARRATIVE DESCRIPTION OF FACTORS CONTRIBUTING TO THE EVENT | (Attach additional sheets as necessary) |

Form RSPA F 7000-1  (01-2001 )	La. Revised:  6/04							Page 4 of 4

### Reproduction of this form is permitted